WBSCH aims to provide a safe and secure environment for all residents / clients, visitors, staff.

CODE ORANGE is called for any situation when the facility is affected by an external disaster which could affect the quality of building air.

The Grace Hospice Nurse will assume Charge throughout the CODE ORANGE until charge responsibility is transferred to another more appropriate person (Executive Director / designate).

PROCEDURE

- Page CODE ORANGE three times.  Page direction for staff to close all facility windows.

- Contact Executive Director / designate

- Contact maintenance / caretaker to shut down all air handlers.  Located:

  - Three air handlers in the main boiler room

  - One air handler in the mechanical room

  - Two air handlers in the Balfour crawlspace and one exhaust fan

  - One air handler in the Grace Hospice crawlspace

  - One air handler in the Administration crawlspace (accessed through the mechanical room)

- As directed by Executive Director / designate, the two exterior air intake grills can be sealed:

- One air intake grill located directly outside, in front of the Eventide staff room (north wall)

- One air intake grill located directly to the left of the Garden door

- In the absence of maintenance / caretaker contact the Executive Director / on-call designate.

- When notified by Executive Director / designate to do so, announce CODE ORANGE – ALL CLEAR three times.

- External air supply can be restored after ALL CLEAR has been given.

Source:

Adapted from the RQHR Emergency Preparedness Manual

Government of Saskatchewan, Regional Health Services Policy & Procedure Manual (2013) 20.2 Emergency Plans

Approval/Revised

Date Reviewed at OH&S February 8/17

Date Revised:  _________________________

Recommended by OH&S Employer Chair 		Signature:  __________________________

Approved by Executive Director 			Signature:  __________________________